Rapid Cervical Cancer Test Project

# Summary

- Two Indian datasets are usable now. The Mendeley LBC Pap smear set (963 microscope images, 460 patients, North-East India) supports an image or AI component. Eight complete HPV16 genomes from Indian patients, in GenBank, support primer and probe design.

- Neither dataset can validate a test strip. Neither contains a paired strip result and biopsy diagnosis. Accuracy figures have to be generated by the team on real samples.

- The two published strip procedures have opposite weaknesses. The E6 protein strip is specific but found only 59.7% of CIN3+ cases. The DNA strip is sensitive in the lab but has not been tested on any patient sample.

- The strongest novelty claim is a combined kit. A DNA strip to screen plus an E6 strip to triage, with HPV types chosen from Indian genotype data.

## How the figures were checked

Every number below was copied from the source named beside it, and each source is linked in the reference list. Where a source could not be opened, the item is marked “not verified” instead of being filled in. Section 5 lists those gaps.

# 1. Dataset 1: Mendeley liquid-based cytology Pap smear images

This is the only openly downloadable cervical cytology image set found in this search that was collected entirely in India. It is an image dataset, so its use in this project is limited to a classification or AI component.

| Item | Detail |
| --- | --- |
| Full name | Liquid based cytology pap smear images for multi-class diagnosis of cervical cancer |
| Download link | data.mendeley.com/datasets/zddtpgzv63/4 (DOI 10.17632/zddtpgzv63.4) |
| Version and date | Version 4, published 18 November 2019. Contributor on the record: Elima Hussain. |
| Describing paper | Hussain E, Mahanta LB, Borah H, Das CR. Data in Brief, 2020, vol. 30, article 105589. doi.org/10.1016/j.dib.2020.105589 |
| Type of data | Microscope images of cervical cells on Pap smear slides, raw JPG. |
| Size | 963 images from 460 patients. |
| Classes (Bethesda System) | NILM, negative for intraepithelial lesion or malignancy: 613 images (63.7%) LSIL, low-grade squamous intraepithelial lesion: 163 (16.9%) HSIL, high-grade squamous intraepithelial lesion: 113 (11.7%) SCC, squamous cell carcinoma: 74 (7.7%) The data paper states 613 normal and 350 abnormal. The split of the 350 is taken from two later papers that used the dataset (references 3 and 4); percentages are calculated from the counts. |
| Image specification | 2048 × 1536 pixels, captured at 400x (40x objective × 10x eyepiece). |
| Equipment | Leica DM 750 microscope with ICC50 HD camera. |
| Where collected | Babina Diagnostic Pvt. Ltd, Imphal Dr. B. Borooah Cancer Research Institute, Guwahati, Assam Gauhati Medical College and Hospital, Guwahati, Assam |
| How collected | 1. Cervical cells taken with a small brush from the transformation zone and placed in preservative fluid (SurePath liquid-based cytology). 2. Vial vortexed at 3000 rpm for 15–20 seconds to break up mucus and blood. 3. Density reagent added, then centrifuged at 2500 rpm for 5 minutes. 4. One or two alcohol washes, then haematoxylin and eosin (H&E) staining. 5. Ten best-quality images captured per slide, with minimal overlap. 6. Each image labelled from the patient’s report and confirmed by an expert pathologist. |
| Ethics and funding | Ethical clearance from all three centres and patient consent. Funded by the Department of Biotechnology, Government of India (grant DBTNER/Health/48/2016). |
| Licence | Creative Commons Attribution 4.0 is shown on the Mendeley record for version 2. The licence field for version 4 did not load, so confirm it on the download page before reuse. The describing paper is CC BY-NC-ND. |
| What it does not contain | The published description covers images and class labels only. No HPV test result, biomarker value or patient demographic field is described. |
| Limits to state in the paper | Unbalanced classes: nearly two-thirds of images are normal and only 74 are carcinoma. One region of India (North-East), three centres. Labels are per image, not per cell. |

# 2. Dataset 2: HPV16 complete genome sequences from Indian patients

This is sequence data from Indian cervical cancer patients, held in GenBank. It is the dataset the kit itself needs: whichever route is chosen, the primers, probes or antibodies must match the virus as it circulates in India rather than a reference strain.

| Item | Detail |
| --- | --- |
| What it is | Eight complete HPV16 genomes sequenced from cervical specimens of Indian women, deposited in NCBI GenBank. |
| Describing paper | Mandal P, Bhattacharjee B, Sen S, Bhattacharya A, Roy Chowdhury R, Mondal NR, Sengupta S. Complete Genome Sequences of Eight Human Papillomavirus Type 16 Asian American and European Variant Isolates from Cervical Biopsies and Lesions in Indian Women. Genome Announcements, 2016. doi.org/10.1128/genomeA.00243-16 |
| Where the samples came from | National Institute of Biomedical Genomics, Kalyani, West Bengal, and the Department of Gynecology, Saroj Gupta Cancer Centre and Research Institute, Kolkata. The paper does not state which institution supplied each specimen. |
| Sample types | Six cervical biopsies and two cervical scrapes. |
| Variant lineages | Four Asian American variants and four European variants. |
| GenBank accessions and genome length | IND-T119, Asian American, biopsy: KU641509, 7,908 bp IND-T121, Asian American, biopsy: KU684314, 7,908 bp IND-T488, Asian American, biopsy: KU684311, 7,916 bp IND-CMCP14, Asian American, scrape: KU684315, 7,909 bp IND-T395, European, biopsy: KU684313, 7,909 bp IND-T315, European, biopsy: KU684316, 7,906 bp IND-T338, European, biopsy: KU684317, 7,906 bp IND-JNM434, European, scrape: KU684312, 7,906 bp |
| How to download | Free, no registration. Search each accession at ncbi.nlm.nih.gov/nuccore, or fetch all eight at once with NCBI Entrez / Biopython. |
| How it was produced | DNA extracted with the Qiagen DNA minikit. HPV screened with GP5+/GP6+ primers; HPV16 confirmed by quantitative E6 PCR. Genome enriched using two long-range overlapping primer sets and Expand Long Template PCR. Libraries prepared with the Ion Plus fragment library kit, sequenced on an Ion PGM. Assembled de novo in Geneious 7.0.3 and confirmed by Sanger sequencing. Annotated with GATU against references NC_001526.2 and AB818689. |
| Why it matters for the kit | The E6 and E7 genes, which both strip routes target, can be read directly from these genomes. Primer and probe sequences can be checked against Indian variants before any reagent is ordered. The two lineages present mean a primer site conserved in one may differ in the other. |
| Ethics | Not stated in the genome announcement. |
| Limits to state in the paper | Only eight genomes, and only HPV16. Eastern India only. Sequence data alone cannot establish how well a strip performs; that needs patient testing. |

## Larger lineage study from the same group

Mandal P, et al. Translational Oncology 2021; 15(1): 101256 (doi.org/10.1016/j.tranon.2021.101256) sequenced whole HPV16 genomes from 145 squamous cell carcinoma cases and 24 non-malignant specimens, mainly from Saroj Gupta Cancer Centre and Research Institute, West Bengal, with further collection in Manipur, Sikkim and Chhattisgarh. Among the 145 cancers, lineage A1 accounted for 126 cases (86.89%), with the remainder D1 and D2.

Two cautions on that paper. Its abstract and its results section disagree on the D1 and D2 percentages, and the counts of 13 and 6 out of 145 give 8.97% and 4.14%, the reverse of the abstract. It also gives no GenBank accessions, so those 145 genomes are not downloadable from the paper. Cite the counts, not the abstract percentages, and write to the corresponding author if you need the sequences.

## Supporting Indian sources for choosing HPV targets

| Source | What it gives | Link |
| --- | --- | --- |
| ICO/IARC HPV Information Centre, India report (2023) | 123,907 new cervical cancer cases and 77,348 deaths a year in India. HPV 16 and/or 18 found in 83.2% of cervical cancers. | hpvcentre.net |
| Multi-centre genotype study, Asian Pacific Journal of Cancer Prevention, vol. 10 no. 1 | 278 cancers from North, East, Central and South India. HPV16 alone 59.4%, HPV18 alone 13.3%, both 3.6%; total 76.3%. Types 16, 18, 31, 33 and 45 together: 87.1%. | journal record |
| Region-wise study, International Journal of Gynecological Cancer, vol. 20 no. 6 | 667 squamous cell carcinomas from six centres. HPV 16/18 in 79.6%; other types 12.4%. | ijgc.bmj.com |
| ICMR National Cancer Registry Programme, Report 2020 | Data from 28 population-based and 58 hospital-based registries, with a chapter on cancer of the cervix. | ncdirindia.org |

A dataset to avoid as “Indian”. The widely used UCI and Kaggle “Cervical Cancer (Risk Factors)” file has 858 patients and 36 features, but it was collected at Hospital Universitario de Caracas, Venezuela (UCI record).

# 3. Procedures followed in the two strip papers

Paper A is the protein route and Paper B is the DNA route. Paper A: Mariano VS, Lorenzi AT, et al. A Low-Cost HPV Immunochromatographic Assay to Detect High-Grade Cervical Intraepithelial Neoplasia. PLoS ONE 2016; 11(10): e0164892. Paper B: Chang MM, Ma A, Novak EN, et al. A novel tailed primer nucleic acid test for detection of HPV 16, 18 and 45 DNA at the point of care. Scientific Reports 2023; 13.

| Step | Paper A: E6 protein strip (OncoE6) | Paper B: DNA strip (tailed-primer RPA) |
| --- | --- | --- |
| What is detected | E6 oncoprotein of HPV16 and HPV18. | E7 gene DNA of HPV16, HPV18 and HPV45. |
| Principle | Immunochromatographic lateral flow using high-affinity monoclonal antibodies. No amplification. | Isothermal DNA amplification (recombinase polymerase amplification, RPA) followed by lateral flow detection. |
| Study samples | 448 women aged 18–89 (median 39.3) referred to Barretos Cancer Hospital, Brazil, after an abnormal Pap test. | Synthetic E7 gene fragments, and DNA or lysates from cell lines SiHa (HPV16), HeLa (HPV18), MS751 (HPV45) and C33A (HPV-negative). No patient samples. |
| Sample collection | Clinician-collected cervical sample with a Rovers brush, placed in a ThinPrep vial and stored at −20 °C. | Cultured cells suspended in 1X TE buffer at 5,000 to 500,000 cells/mL. |
| Sample preparation | A cell lysate is made from the specimen. The lysis recipe is in Schweizer et al. 2010, which could not be opened: not verified. | 196 µL cell suspension plus 4 µL achromopeptidase (0.5 U/µL final). 5 minutes at room temperature, then 5 minutes at 95 °C. |
| Amplification | None. | RPA Basic kit (TwistDx). 20 minutes at 39 °C. 10 µL per well inside the cartridge (heater set to 45 °C to reach 39 °C); 50 µL in bench screening. |
| Labelling and capture chemistry | Monoclonal antibodies against E6 capture and reveal the protein. A positive shows as a purple line. | One primer carries a 15-base tail for capture on the strip; the other carries biotin. Signal from streptavidin-coated gold nanoshells. |
| Strip | Unit of three test strips per specimen. Lines: control, HPV16-E6, HPV18-E6. | Custom nitrocellulose strip (UniStart CN95) with glass-fibre sample and conjugate pads and a cellulose wick. Lines: HPV16, HPV18/45 combined, control. |
| Running buffer | Not stated in this paper. | 4X SSC, 1.4% Triton X-100, 5% formamide. 170 µL held in the cartridge cap. |
| Readout | Visual, by a trained technician. | 3 minutes of flow, then scanned on a strip reader and a flatbed scanner. |
| Equipment | Described as needing no complex equipment. | Two-bay heater (NATflow, Axxin), about US$500, with a sealed disposable cartridge and a 3D-printed three-well insert. |
| Time to result | About 2.5 hours after sample collection. | Under 35 minutes (5 + 5 + 20 + 3 minutes). |
| Reference standard | Histology from colposcopy-guided biopsy or cone specimen. Compared with the Cobas HPV DNA test and cytology. | None. Design target was 1,000 copies per reaction, based on the digene HC2 test. |
| Main results | Positive in 86 of 448 women (19.2%). CIN2+: sensitivity 49.6% (95% CI 40.3–58.9), specificity 91.8% (88.3–94.5). CIN3+: sensitivity 59.7% (47.6–71.1), specificity 88.6% (84.9–91.6). For comparison, HPV DNA for CIN3+: sensitivity 98.6%, specificity 48.1%. | Limit of detection: 50 copies per reaction for HPV16 and HPV18; 500 for HPV45. Cell lysates detected across the tested range. HPV-negative cells gave no signal on either test line. |
| Limitations stated by the authors | Misses lesions caused by other high-risk types. Targets only E6, of two types. Not high-throughput. Women with normal colposcopy were not biopsied, which overstates sensitivity. | No clinical validation; cultured cells lack mucus and blood. 11% of cartridges failed. Manual pipetting of small volumes still needed. Only three genotypes; eight are recommended. Freeze-dried reagents not yet developed. |